APPENDIX I

CURRICULUM COMPETENCY MATRIX

GRADUATE COMPETENCIES FOR POLYSOMNOGRAPHY STUDIES (PSG) ADD-ON

List the course(s) and specific objective(s) that includes instruction in each competency.

| CONTENT AREA |  |  |  | COURSE # (s) | OBJECTIVE #(s) |
| --- | --- | --- | --- | --- | --- |
| GROUP 3 (optional add-on): The following Graduate Competencies for performing Polysomnography studies (PSG) build on the Group I NDT Graduate Competencies. Both groups of competencies are required in Neurodiagnostic Technology (NDT) programs that choose to develop a PSG add-on. |  |  |  |  |  |
| a. | Entry-level competency is evidenced by a graduate’s knowledge and ability in the following areas: |  |  |  |  |
| 1) | Demonstrating an understanding of polysomnography by: |  |  |  |  |
|  | a) | following the principles of polysomnography and asking the clinically relevant questions to be answered for each individual patient; |  |  |  |
|  | b) | applying medical terminology and accepted abbreviations in sleep disorders medicine; |  |  |  |
|  | c) | applying concepts of basic electricity and electrical safety; |  |  |  |
|  | d) | recognizing anatomy and physiology, especially cardiopulmonary and neurologic; |  |  |  |
|  | e) | correlating polysomnographic patterns with specific disorders; |  |  |  |
|  | f) | correlating basic breathing mechanisms and airway physiology; |  |  |  |
|  | g) | reviewing current medications and recognizing their effects on the recordings; |  |  |  |
|  | h) | identifying therapeutic modalities (e.g., mechanical, pharmacological, surgical); |  |  |  |
|  | i) | following Standard Precautions and Transmission Based Precautions for infection prevention; and, |  |  |  |
|  | j) | demonstrating appropriate ethical professional behaviors. |  |  |  |
| 2) | Identifying indications for sleep studies by: |  |  |  |  |
|  | a) | using the International Classification of Sleep Disorders and relevant practice parameters; |  |  |  |
|  | b) | recognizing signs and symptoms for adult sleep disorders; |  |  |  |
|  | c) | recognizing signs and symptoms for pediatric sleep disorders; |  |  |  |
|  | d) | recognizing seizure manifestations and classifications; and, |  |  |  |
|  | e) | recognizing psychiatric and psychological disorders. |  |  |  |
| 3) | Preparing for the study by: |  |  |  |  |
|  | a) | assessing the physician's order to assure appropriateness in conjunction with reviewing of the patient's medical records; |  |  |  |
|  | b) | interviewing the patient to obtain any additional information; |  |  |  |
|  | c) | determining and accommodating the patient's age-specific needs, disability and/or other special needs; |  |  |  |
|  | d) | providing appropriate patient and family education including expectations of technical procedures; |  |  |  |
|  | e) | answering questions related to sleep disorders testing; |  |  |  |
|  | f) | determining the need for additional physiological monitors; and, |  |  |  |
|  | g) | determining the possible need for emergency intervention. |  |  |  |
| 4) | Preparing a worksheet that includes: |  |  |  |  |
|  | a) | patient demographic information (e.g., name, age, gender, ID number, referring physician, reason for referral); |  |  |  |
|  | b) | procedure information (e.g., procedure type, procedure number, date of test, technologist name, recording time.); |  |  |  |
|  | c) | chief complaint, relevant medical history and clinical findings specific to procedure; |  |  |  |
|  | d) | sleeping medications taken or administered during the study; and, |  |  |  |
|  | e) | identifying any special circumstances necessitating changes in usual protocols. |  |  |  |
| 5) | Verifying the integrity of the PSG recording equipment by: |  |  |  |  |
|  | a) | performing an all-channel and montage calibration before lights out; |  |  |  |
|  | b) | recognizing and correcting recording equipment malfunction observed during calibration including polysomnography amplifiers, ancillary equipment and audiovisual equipment; |  |  |  |
|  | c) | performing an end-of-study calibration procedure to verity the integrity of recorded data; and, |  |  |  |
|  | d) | verifying the presence of a current biomedical inspection sticker. |  |  |  |
| 6) | - Applying electrodes and sensors by following a method that includes: |  |  |  |  |
|  | a) | identifying the appropriate method and site of electrode application; |  |  |  |
|  | b) | determining setup and recording protocols including montage derivations; |  |  |  |
|  | c) | using standard precautions during patient preparation; |  |  |  |
|  | d) | measuring the patient's head according to the International 10/20 system of electrode placement; |  |  |  |
|  | e) | prepping patient's scalp and skin prior to electrode application; |  |  |  |
|  | f) | following established protocols for placement of ECG, EMG, EOG and other recording electrodes and sensors used in polysomnography, i.e., nasal/oral airflow, effort devices and oximeter sensors; |  |  |  |
|  | g) | utilizing additional electrodes or modified placements based on the patient's history or medical needs; |  |  |  |
|  | h) | ensuring security and integrity of electrodes and sensors for an extended period of time; and, |  |  |  |
|  | i) | verifying and documenting electrode impedances are balanced and below 5,000 ohms on the face and scalp, 10,000 ohms on the legs. |  |  |  |
| 7) | Obtaining an accurate patient recording by: |  |  |  |  |
|  | a) | acquiring, verifying and documenting biological calibrations prior to "lights out" to document integrity of the physiological monitors; |  |  |  |
|  | b) | recognizing the effects of recording parameters on waveforms (i.e., filter settings, sensitivity settings); |  |  |  |
|  | c) | recognizing, troubleshooting and minimizing artifacts so that sleep stages and all monitoring channels are clearly readable throughout the recording; |  |  |  |
|  | d) | recognizing and documenting relevant data, including but not limited to, body position changes, life-threatening events, EEG and ECG abnormalities; |  |  |  |
|  | e) | documenting routine changes periodically throughout the recording to include notes on observed behavior, parasomnias, notations of montage and equipment settings; and, |  |  |  |
|  | f) | recognizing the need for clinical interventions (e.g., oxygen, positive airway pressure titration, CPR) and performing them according to established guidelines. |  |  |  |
| 8) | Completing the PSG recording by: |  |  |  |  |
|  | a) | removing electrodes and sensors from the patient; |  |  |  |
|  | b) | documenting a summary of the polysomnogram and clinical observations in order to assist with the interpretation (e.g., estimated apnea index, apnea-hypopnea index, estimated periodic limb movement index, clinically significant behavior, significant cardiac arrhythmia, lowest oxygen desaturation); |  |  |  |
|  | c) | preparing patient data and chart for scorer; |  |  |  |
|  | d) | performing transfer of data or data backup in accordance with department specific protocols; and, |  |  |  |
|  | e) | cleaning and disinfecting electrodes and other reusable equipment according to manufacturer's guidelines and/or established department protocols. |  |  |  |
| 9) | Scoring the polysomnogram in accordance with The AASM Manual for the Scoring of Sleep and Associated Events: Rules, Terminology, and Technical Specifications which includes: |  |  |  |  |
|  | a) | sleep stages; |  |  |  |
|  | b) | arousal events; |  |  |  |
|  | c) | respiratory events; |  |  |  |
|  | d) | differentiation between potentially lethal and non-lethal ECG patterns; and, |  |  |  |
|  | e) | periodic limb movement events. |  |  |  |
| 10) | Providing a technical report that includes: |  |  |  |  |
|  | a) | sleep scoring data: lights out/on, total sleep time, total recording time, sleep latency, stage R latency, wake after sleep onset, percent sleep efficiency, time in each stage, percent of total sleep time in each stage; |  |  |  |
|  | b) | arousal events: number of arousals, arousal index; |  |  |  |
|  | c) | respiratory events: note the presence and number of obstructive/mixed/central sleep apneas and hypopneas, number of apneas + hypopneas, apnea index, hypopnea index, apnea + hypopnea index, continuous oxygen saturation mean value, minimum oxygen saturation during sleep, occurrence of Cheyne Stokes breathing; |  |  |  |
|  | d) | cardiac events: note the presence and average heart rate and highest heart rate during sleep, highest heart rate during recording, and the occurrence of the following arrhythmias, listing heart rate or duration of pause: |  |  |  |
|  |  | (i) | bradycardia – report lowest heart rate observed; |  |  |
|  |  | (ii) | asystole – report longest pause observed; |  |  |
|  |  | (iii) | sinus tachycardia during sleep – report highest heart rate observed; |  |  |
|  |  | (iv) | narrow complex tachycardia – report highest heart rate observed; |  |  |
|  |  | (v) | wide complex tachycardia – report highest heart rate observed; |  |  |
|  |  | (vi) | atrial fibrillation; and, |  |  |
|  |  | (vii) | the presence of other arrhythmias that may be present; |  |  |
|  | e) | movement events: number of periodic limb movements of sleep (PLMS) with/without arousals, PLM index, PLM arousal index; and, |  |  |  |
|  | f) | summary statements: findings related to sleep diagnosis; EEG abnormalities; ECG abnormalities; behavioral observations; and summary of therapeutic intervention. |  |  |  |
| 11) | Applying and recording data from the following electrodes and sensors as appropriate: |  |  |  |  |
|  | a) | respiratory inductance plethysmography; |  |  |  |
|  | b) | nasal/oral thermistor/thermocouple; |  |  |  |
|  | c) | nasal pressure transducer; |  |  |  |
|  | d) | snore microphone/sensor; |  |  |  |
|  | e) | pulse oximetry; |  |  |  |
|  | f) | end-tidal CO2 monitor; |  |  |  |
|  | g) | transcutaneous CO2 monitor; and, |  |  |  |
|  | h) | other monitoring devices. |  |  |  |
| 12) | Performing positive airway pressure titration by: |  |  |  |  |
|  | a) | assuring the positive airway pressure device is calibrated appropriately and interfaced properly to the polysomnography recording equipment; |  |  |  |
|  | b) | explaining sleep apnea and the role of positive airway pressure to the patient during the setup process, and answering any questions; |  |  |  |
|  | c) | sizing the patient with a mask and allowing the patient to adjust to wearing it while awake and sitting up prior to starting the recording; |  |  |  |
|  | d) | understanding the contraindications and complications of positive airway pressure therapy; |  |  |  |
|  | e) | identifying when to adjust the pressure to achieve optimal delivery (e.g., snoring, arousals, desaturations) and providing documentation and reasons for changes in positive airway pressure; |  |  |  |
|  | f) | verifying optimal pressure during Stage R and supine sleep if possible; |  |  |  |
|  | g) | identifying and correcting factors that may compromise delivery of effective positive airway pressure; |  |  |  |
|  | h) | pressures, i.e., substantial mask leakage or mouth breathing); |  |  |  |
|  | i) | recognizing the need to change to bi-level positive airway pressure if needed; |  |  |  |
|  | j) | recognizing when to contact the medical director; |  |  |  |
|  | k) | maintaining proper cleaning and disinfection and maintenance of the positive airway pressure device; and, |  |  |  |
|  | l) | differentiating the different types of positive airway pressure. |  |  |  |
| 13) | Performing oxygen titration by: |  |  |  |  |
|  | a) | ensuring that a physician’s order is obtained prior to administration; |  |  |  |
|  | b) | determining the need for supplemental oxygen by following established laboratory protocols for oximetry; |  |  |  |
|  | c) | assuring proper function of equipment providing oxygen delivery; |  |  |  |
|  | d) | recognizing contraindications for supplemental oxygen; |  |  |  |
|  | e) | properly fitting and adjusting the nasal cannula for oxygen delivery with or without positive airway pressure and humidification devices; |  |  |  |
|  | f) | incorporating the use of combined positive airway with pressure with supplemental oxygen; |  |  |  |
|  | g) | recognizing when to adjust supplemental oxygen to achieve optimal oxygen saturation levels; |  |  |  |
|  | h) | identifying signs that the patient’s drive to breathe is reduced and making appropriate adjustments; and, |  |  |  |
|  | i) | documenting changes in oxygen saturation on the PSG and the technologist summary report. |  |  |  |
| 14) | Performing the Multiple Sleep Latency Test (MSLT) by: |  |  |  |  |
|  | a) | verifying and documenting use and/or discontinuation of all prescription medications, over-the-counter medications, herbal and dietary supplements, and other substances and/or activities that would affect sleep or wakefulness; |  |  |  |
|  | b) | documenting by polysomnography the previous night’s sleep to verify the appropriateness of the MSLT order; |  |  |  |
|  | c) | obtaining a urine drug screen test if ordered; |  |  |  |
|  | d) | following established guidelines for the performance of the MSLT procedure; |  |  |  |
|  | e) | administering questionnaires as required; and, |  |  |  |
|  | f) | providing documentation and reports as required by lab protocols for interpretation. |  |  |  |
| 15) | Performing the Maintenance of Wakefulness Test (MWT) by: |  |  |  |  |
|  | a) | verifying a drug history was obtained and any medications discontinued for two weeks prior to testing as deemed necessary by the referring physician; |  |  |  |
|  | b) | obtaining a urine drug screen test if needed, as order; |  |  |  |
|  | c) | following established guidelines for the performance of the MWT procedure; |  |  |  |
|  | d) | administering questionnaires as required; and, |  |  |  |
|  | e) | providing documentation and reports as required by lab protocols for interpretation. |  |  |  |