Self-Study Report

For Initial Accreditation of an IONM Program

June 2021

A Committee on Accreditation

# ACCREDITATION SELF-STUDY REPORT

FOR AN EDUCATIONAL PROGRAM IN INTRAOPERATIVE NEUROPHYSIOLOGIC MONITORING (IONM)

INSTRUCTIONS:

Each program conducts a self-study, which is a process that culminates in the preparation of a report. The CoA-NDT will use the report and any additional information submitted to assess the program’s degree of compliance with the Standards and Guidelines for the Accreditation of Educational Programs in Intraoperative Neurophysiologic Monitoring (2021) of the Commission on Accreditation of Allied Health Education Programs (CAAHEP) [www.caahep.org].

Programs should carefully read the Standards and Guidelines to fully understand and respond to the corresponding questions in the Self-Study Report template. Please respond to the questions carefully and completely when preparing the self-study report.

The self-study report MUST be submitted using the CoA-NDT Self-Study Report Template. No paper copies will be accepted by the CoA-NDT.

# FEES:

An initial application fee of $1,500.00 is due with the self-study.

REPORT FORMAT:

- Type the text of the response for each question directly into the spaces provided on the template form.

- The preferred method of submission is to upload the materials to DropBox. Please contact the CoA-NDT Executive Office to request a DropBox for the Self-Study. As an alternative, please save your self-study document and all supporting documentation to a USB drive and send it the CoA-NDT, 2206 Highland Ave. Morton, PA 19070.

CAAHEP REQUEST FOR ACCREDITATION SERVICES

Programs must electronically file the CAAHEP Request for Accreditation Services at the time the self study report is submitted.

# TITLE PAGE

- Type of degree offered (Associate, Bachelors, Masters, etc.):

- Name and address of the sponsoring institution:

| Name: Address: |  |  |
| --- | --- | --- |
| City/State/Zip: Telephone: |  | Fax: |
| E-mail: |  |  |

- Name and contact information of administration and Key Personnel:

| Chief Executive Officer (to whom all correspondence will be directed) Name: Address: |  |  |
| --- | --- | --- |
| City/State/Zip: |  |  |
| Telephone: |  | Fax: |
| E-mail: |  |  |
| Dean or Comparable Administrator |  |  |
| Name: |  |  |
| Address: |  |  |
| City/State/Zip: |  |  |
| Telephone: |  | Fax: |
| E-mail: |  |  |

# b.

- Program Director

Name:

Address:

City/State/Zip:

Telephone:	 		Fax:	 E-mail:

Is the Program Director employed full-time by the sponsor?	Yes	No

# Medical Director(s)

Name:

Address:

City/State/Zip:

Telephone:	 		Fax:	 E-mail:

Co-Medical Director (if applicable)

Name:

Address:

City/State/Zip:

Telephone:	 		Fax:	 E-mail:

- a.	Graduation date of first class:

b.	Graduation date of next class:

- Is the program applying for accreditation for distance education? (CAAHEP currently defines a distance education program as the delivery of the complete program without the need to attend any instruction on a campus location. NOTE: this delivery is not hybrid or partial e-learning delivery.)

Yes	No

- Write a brief (no more than 2 pages) description of the history and development of the program from its inception. Include significant events affecting the program.

- Name and phone number of person responsible for the preparation of the self-study report: Name:

Title:	           Telephone:   	__       Fax:

E-mail:

TABLE OF CONTENTS

After sequentially numbering all pages in the self-study report, including the appendices, reference the questions in each PART and each Appendix in the Table of Contents with the appropriate page indicated.

|  |  |  |  |  | STANDARD | PAGE |
| --- | --- | --- | --- | --- | --- | --- |
| I. Sponsorship |  |  |  |  |  |  |
|  | I.A | Sponsoring Institution |  |  |  |  |
|  |  | Appendices related to Standard I.A |  |  |  |  |
|  |  | A-1 | Articulation agreement with a post-secondary institution, if applicable. |  |  |  |
|  |  | A.2 | Copy of the sponsor accreditation letter or certificate |  |  |  |
|  |  | A-3 | Copy of diploma, certificate, or degree awarded |  |  |  |
|  | I.B | Consortium Sponsor (if applicable) |  |  |  |  |
|  |  | Appendices related to Standard I.B |  |  |  |  |
|  |  | A.4 | Consortium Information Form, if applicable |  |  |  |
|  |  |  | A-4.1 |  | Agreement (Memorandum of Understanding) for Consortium, if applicable |  |
|  |  |  | A-4.2 |  | Organizational chart for consortium, if applicable |  |
|  | I.C | Responsibilities of the Sponsor |  |  |  |  |
|  |  | Appendices related to Standard I.C |  |  |  |  |
|  |  | A-5 | Institutional organizational chart |  |  |  |
| II. Program Goals |  |  |  |  |  |  |
|  | II.A | Program Goals and Outcomes |  |  |  |  |
|  | II.B | Appropriateness of Goals and Learning Domains |  |  |  |  |
|  | II.C | Minimum Expectations |  |  |  |  |
|  |  | Appendices related to Standard II |  |  |  |  |
|  |  | B | Copies of Program Advisory Committee meeting minutes |  |  |  |
| III. Resources |  |  |  |  |  |  |
|  | III.A | Type and Amount |  |  |  |  |
|  |  | Appendices and Charts related to Standard III.A |  |  |  |  |
|  |  | C | Faculty Workload Forms |  |  |  |
|  |  | D | Program budget, current fiscal year |  |  |  |
|  |  | List of Clinical Affiliates |  |  |  |  |
|  | III.B | Personnel |  |  |  |  |
|  |  | III.B.1.a Program Director |  |  |  |  |
|  |  | III.B.1.b Medical Director |  |  |  |  |
|  |  | III.B.1.c |  | Faculty and Clinical Instructional Staff |  |  |
|  |  | Appendices related to Standard III.B |  |  |  |  |
|  |  | F-1 | Program director job description, CV, copies of credentials/licenses |  |  |  |
|  |  | F-2 | Medical director job description, CV, copies of credentials/licenses |  |  |  |
|  |  | F-3 | Faculty and clinical instructor/preceptor job description(s); |  |  |  |
|  | III.C | Curriculum |  |  |  |  |
|  |  | Appendices and Charts related to Standard III.C |  |  |  |  |
|  |  | Program Course Requirements |  |  |  |  |
|  |  | Appendix E: Clinical Rotation Schedule |  |  |  |  |
|  |  | Appendix F: IONM Course Syllabi |  |  |  |  |
|  |  | Competency Matrix |  |  |  |  |
|  | III.D | Resource Assessment |  |  |  |  |
| IV. Student and Graduate Evaluation/Assessment |  |  |  |  |  |  |
|  | IV.A | Student Evaluation |  |  |  |  |
|  |  | IV.A.1 |  | Frequency and Purpose |  |  |
|  |  | IV.A.2 |  | Documentation |  |  |
|  |  | Appendices related to Standard IV.A |  |  |  |  |
|  |  | Appendix G: Evaluation Forms |  |  |  |  |

|  |  | IV.B | Outcomes |  |  |
| --- | --- | --- | --- | --- | --- |
|  |  |  | IV.B.1 | Outcomes Assessment |  |
|  |  |  | IV.B.2 | Outcomes Reporting |  |
|  | V. Fair Practices |  |  |  |  |
|  |  | V.A | Publications and Disclosure |  |  |
|  |  | V.B | Lawful and Non-discriminatory Practices |  |  |
|  |  | V.C | Safeguards |  |  |
|  |  | V.D | Student Records |  |  |
|  |  | V.E | Substantive Changes |  |  |
|  |  | V.F | Agreements |  |  |
|  |  |  | Appendices related to Standard V.F |  |  |
|  |  |  | Appendix H: Clinical Affiliation Agreements |  |  |

## If you are submitting the Self-Study as a Word document, create a folder labeled APPENDICES and place each document required in the appendices in the appropriate folder (e.g., within the APPENDICES folder create subfolders for each appendix and label it as instructed in the self-study template).

If you are converting the Self-Study to pdf, insert each appendix in the primary document, with a page labeling each appendix appropriately. Please insert a hyperlink to each section of the self- study and the appendices.

Standard I. Sponsorship

  - Sponsoring Institution

A sponsoring institution must be at least one of the following:

    - A post-secondary institution accredited by an institutional accrediting agency that is recognized by the U.S. Department of Education, and authorized under applicable law or other acceptable authority to provide a post-secondary program, which awards a minimum of certificate/diploma at the completion of the program.

    - A foreign post-secondary institution acceptable to CAAHEP, which is authorized under applicable law or other acceptable authority to provide a postsecondary program, which awards a minimum of a certificate/diploma at the completion of the program.

    - A hospital, clinic, medical center or IONM service company that is institutionally accredited and authorized under applicable law or other acceptable authority to provide healthcare in the United States, which

      - awards academic credit for the program; or

      - has an articulation agreement with an accredited post-secondary institution; or

      - awards a minimum of a post-baccalaureate academic certificate for the program.

    - A branch of the United States Armed Forces, which awards a minimum of certificate/diploma at the completion of the program.

- Name and address of the sponsoring institution:

Name:

Address:

City/State/Zip:

Telephone:	 		Fax:	 E-mail:

- Type of Sponsoring Institution (check only one of the following):

U. S. post-secondary institution Hospital or medical center

## Place a copy of the articulation agreement with a baccalaureate-level post-secondary academic institution in APPENDIX A, labeled A-1 Articulation Agreement.

IONM service company

## Place a copy of the articulation agreement with a baccalaureate-level post-secondary academic institution or a copy of the admission requirement(s) documenting that applicants must hold at least a baccalaureate degree to be admitted to the program in APPENDIX A, labeled either A-1 Articulation Agreement or A-1 Admission Policies.

Branch of the United States Armed Forces

- Is the sponsoring institution accredited?

Yes	No

## Place a copy of the sponsor accreditation certificate or award letter in APPENDIX A, labeled A-2 Institutional Accreditation.

  - What agency accredits the sponsoring institution? Name:

Address:

City/State/Zip:

Telephone:	 				Fax:	 E-mail:

url:

  - Date of the most recent Institutional Accreditation:

  - Date of next Institutional review, Month/Year:

  - Is the sponsoring institution legally authorized under applicable state laws to provide a post- secondary program?	Yes	No

  - What agency authorizes the sponsor to provide a post-secondary program?

  - If the answer is NO to any question in this section, please provide an explanation for the NO	response:

- Type of award upon program completion:

(Note: Choose only one award level. Accreditation is granted only to the award level curriculum that gives the graduate eligibility for entry into the profession.)

Certificate of Completion Associate Degree Baccalaureate Degree

Post-baccalaureate Degree Certificate Graduate Degree (Specify: 	)

## Place a copy of the award in Appendix A, labeled A-3 Program Award

Standard I. Sponsorship

B. Consortium Sponsor

A consortium sponsor is an entity consisting of two or more members that exists for the purpose of operating an educational program. In such instances, at least one of the members of the consortium must meet the requirements of a sponsoring institution as described in I.A.

The responsibilities of each member of the consortium must be clearly documented in a formal affiliation agreement or memorandum of understanding, which includes governance and lines of authority.

1.   Is the program sponsored by a Consortium?	Yes	No

## If the answer is YES, please complete the Consortium Information Form and place it in Appendix A, labeled A-4.1 Consortium Information. Place a copy of the organizational chart for the consortium in Appendix A, labeled A-4.2 Consortium Organizational Chart.

- Responsibilities of Sponsor

  - The Sponsor must ensure that the provisions of these Standards and Guidelines are met.

Place a copy of the organizational chart(s), showing all program positions and the position of the IONM program within the sponsoring institution, in Appendix A, labeled A-5 Organizational Chart.

Standard II.	Program Goals

A. Program Goals and Outcomes

There must be a written statement of the program’s goals and learning domains consistent with and responsive to the demonstrated needs and expectations of the various communities of interest served by the educational program. The communities of interest that are served by the program must include, but are not limited to, students, graduates, faculty, sponsor administration, employers, physicians, and the public.

Program-specific statements of goals and learning domains provide the basis for program planning, implementation, and evaluation. Such goals and learning domains must be compatible with the mission of the sponsoring institution(s), the expectations of the communities of interest, and nationally accepted standards of roles and functions. Goals and learning domains are based upon the substantiated needs of health care providers and employers, and the educational needs of the students served by the educational program.

- Describe the needs and expectations of each of the communities of interest. List any communities of interest served by the program in addition to those specified in Standard II.A.

| Community of Interest | Briefly describe the needs and expectations of each community of interest |
| --- | --- |

  - Students:

  - Graduates:

  - Faculty:

  - Sponsor administration:

  - Employers:

  - Physicians:

  - Public:

  - Hospitals & clinics:

  - Other (specify):

  - Other (specify):

  - Other (specify):

- Describe how the IONM program is responsive to demonstrated needs and expectations of the communities of interest.

- State the sponsoring institution’s mission:

- Describe how the program determined that the program goal(s) is/are compatible with the mission of the sponsor.

Standard II.	Program Goals

B.	Appropriateness of Goals and Learning Domains

The program must regularly assess its goals and learning domains. Program personnel must identify and respond to changes in the needs and/or expectations of its communities of interest.

An advisory committee, which is representative of at least each of the communities of interest named in these Standards, must be designated and charged with the responsibility of meeting at least annually, to assist program and sponsor personnel in formulating and periodically revising appropriate goals and learning domains, monitoring needs and expectations, and ensuring program responsiveness to change.

- List the individuals and the community of interest each represents on the Program Advisory Committee (use row 11 for additional individuals).

| Community of Interest | Member Name & Organization |
| --- | --- |
| 1. Employer |  |
| 2. Employer |  |
| 3. Employer |  |
| 4. Program Graduate | Not applicable prior to graduation of the first cohort |
| 5. Physician/Program Medical Director |  |
| 6. Currently enrolled student(s) |  |
| 7. Public member |  |
| 8. Faculty (ex officio): (List name(s) and role(s) in program) |  |
| 9. Program Director: (ex officio) |  |
| 10. Sponsor administration (ex officio) |  |
| 11. List name(s) and role(s)/communities of interest of other committee members: |  |

- Does the Program Advisory Committee meet at least once? If NO, please explain:

Yes	No

- List the dates of all Program Advisory Committee meetings in the last two calendar years:

## Place copies of the Program Advisory Committee meeting minutes for the dates listed in Appendix B Program Advisory Committee.

Standard II.	Program Goals

C. Minimum Expectations

The program must have the following goal defining minimum expectations: “To prepare competent entry-level intraoperative neurophysiologic monitoring specialists in the cognitive (knowledge), psychomotor (skills), and affective (behavior) learning domains.”

Programs adopting educational goals beyond entry-level competence must clearly delineate this intent and provide evidence that all students have achieved the basic competencies prior to entry into the field.

- Standard II.C states the minimum expectation goal as: “To prepare competent entry-level intraoperative neurophysiologic monitoring specialists in the cognitive (knowledge), psychomotor (skills), and affective (behavior) learning domains.”

Are there any additional goals to be reviewed for accreditation?	Yes	No

If YES, list the additional program goals and learning domains:

If YES, describe the methods/process by which the additional stated goal(s) were developed and adopted:

- Describe how the minimum goal(s) were established and communicated to the communities of interest.

- How will the program insure that the goal(s) and learning domains meet the needs and expectations of the communities of interest listed in Standard II.A? Check all that apply in the list below.

Advisory Committee Employer Surveys Graduate Surveys Student Surveys

Other	; please describe:

Standard III. Resources

A. Type and Amount

Program resources must be sufficient to ensure the achievement of the program’s goals and outcomes. Resources must include, but are not limited to: faculty; clerical and support staff; curriculum; finances; offices; classroom, laboratory, and ancillary student facilities; clinical affiliates; equipment; supplies; computer resources; instructional reference materials; and faculty/staff continuing education.

- Are the program resources sufficient to ensure achievement of the program’s goals and outcomes?

Yes	No

- Describe the process used to determine that the current number of faculty is sufficient to ensure the achievement of the program’s goals and outcomes. Describe the process by which the faculty:student ratio for lecture and laboratory courses was determined.

## Complete a Faculty Workload Form for each faculty who teaches in the program and insert it in APPENDIX C.

- Describe the type and amount of clerical/support staff designated to support the IONM program, including how it has determined that this amount of clerical/support staff adequately supports attainment of the program’s goals and outcomes. List the name of each individual who provides support to the program and describe the responsibilities of those individuals.

- Describe the procedures used to review and revise the program’s curriculum, including how the current curriculum has been determined to support achievement of the program’s goals and outcomes.

- Describe how the budget has been determined to be sufficient to support achievement of the program’s goals and outcomes. Place a copy of the program’s budget for the current fiscal year in APPENDIX D Program Budget.

- Describe administrative offices, classrooms, laboratories, and other facilities used by the program, including how it has been determined that the space is adequate to support the achievement of the program’s goal and outcomes.

- Describe ancillary facilities available to students (e.g., student union, food service, campus café).

- Describe the equipment/supplies, computer resources, and instructional reference materials available to students, and how the program determined that these resources are sufficient to support the achievement of the program’s goals and outcomes.

- Describe the resources available for faculty/staff continuing education, including an analysis of how the faculty/staff continuing education activities contribute to the achievement of the program’s goals and outcomes.

- Describe the procedures used to determine that the clinical education sites are sufficient in number to provide parallel learning experiences for each student, and provide sufficient variety to permit each student to achieve the program’s goals and outcomes.

- List all clinical affiliates used by the program, in alphabetical order. Include the full name of the institution; complete address, including website and telephone number; distance from the program, and the name and credentials of the designated clinical instructor(s).

| Name | Address | Distance from program | Clinical instructor(s) and credentials |
| --- | --- | --- | --- |

Please contact the CoA-NDT Executive Office if you need additional forms to complete the list of clinical affiliates.

# Standard III. Resources

- Personnel

The sponsor must appoint sufficient faculty and staff with the necessary qualifications to perform the functions identified in documented job descriptions and to achieve the program’s stated goals and outcomes.

# Program Director

    - Responsibilities

The Program Director must be responsible for all aspects of the program, including but not limited to:

      - administration, organization, and supervision of the educational program, including ensuring physician interaction with and instruction of students;

      - continuous quality review and improvement of the educational program;

      - long range planning and ongoing development of the program; and,

      - outcomes of the program and appropriate systems to ensure the effectiveness of the program.

# Qualifications

The Program Director must:

- hold active verifiable certification or registration within the IONM profession(s);

- possess a minimum of a bachelor’s degree;

- have a minimum of three (3) years clinical experience in IONM, and

- have a minimum of two (2) years teaching experience.

- Is the program director responsible for administration, organization, and supervision of the educational program, including ensuring physician interaction with and instruction of students?	Yes	No

- Is the program director responsible for the continuous quality review and improvement of the educational program?	Yes	No

- Is the program director responsible for the long range planning and ongoing development of the program?	Yes	No

- Is the program director responsible for the outcomes of the program and appropriate systems to ensure the effectiveness of the program?	Yes	No

- Does the program director have sufficient non-teaching time to complete all of the responsibilities identified in Standard III.B.1.a(1-4)?	Yes	No

If the answer to questions 1 – 5 is NO, please explain the NO answer:

| Program Director |  |  |  |
| --- | --- | --- | --- |
| Name and Credentials/Certifications: |  |  |  |
| Title: |  |  |  |
| Date of appointment to position: |  |  |  |
| Status: | Full time: |  | Part time: |
| Total number of hours employed by school per week: |  |  |  |

| Percent of time assigned to teaching responsibilities: |  |  |  |  |  |  | Enter a number or 0 |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Percent of time assigned to IONM program administrative responsibilities: |  |  |  |  |  |  | Enter a number or 0 |  |  |
| Percent of time assigned to all other responsibilities (e.g., student academic advising, institutional governance or committees): |  |  |  |  |  |  | Enter a number or 0 |  |  |
| TOTAL |  |  |  |  |  |  | Note: The percentages of time allocated to each activity MUST add up to 100% |  |  |
| Credentials/Certifications: |  |  |  |  |  |  |  |  |  |
| Credential/Certification |  |  | Awarding Agency |  |  |  | Date Obtained (Month/Year) |  |  |
| Post-Secondary Education: |  |  |  |  |  |  |  |  |  |
| Name of institution | Address of institution |  |  | Dates attended | Major Area of Study |  | Certificate or Degree Awarded |  | Date Awarded |
| IONM Clinical Experience (show at least three years) |  |  |  |  |  |  |  |  |  |
| Name of Employer |  | Address of Employer |  |  |  | Dates Employed |  | Title and Duties |  |
| Teaching Experience (show at least two years teaching experience) |  |  |  |  |  |  |  |  |  |
| Name of Employer |  | Address of Employer |  |  |  | Dates Employed |  | Title and Duties |  |

Place the following documents related to the program director in Appendix F, labeled F-1 Program Director:

  - job description;

  - curriculum vitae;

  - copy of each certification (a screen shot of the verification page from the issuing agency is acceptable); and,

  - copy of the individual’s academic transcript showing the date upon which the degree was conferred by the conferring institution.

Standard III. Resources

B.	Personnel

The sponsor must appoint sufficient faculty and staff with the necessary qualifications to perform the functions identified in documented job descriptions and to achieve the program’s stated goals and outcomes.

# Medical Director

  - Responsibilities

The medical director of the program must

    - provide the input necessary to ensure that the medical components of the curriculum, both the didactic and supervised clinical practice, meet current standards of medical practice;

    - demonstrate active involvement in the education of the students;

    - promote the cooperation and support of practicing physicians for interaction with and instruction of students.

# Qualifications

The medical director must:

    - be a neurologist or clinical neurophysiologist currently licensed and authorized to practice medicine in the United States or the country in which the program is located;

    - have the IONM experience required for completion of a clinical neurophysiology fellowship program with a significant component in IONM;

    - demonstrate competence in the practice of IONM; and

    - have a minimum of three (3) years experience in IONM serving as an interpreting and reporting physician on a variety of cases.

- Does the medical director provide the input necessary to ensure that the medical components of the curriculum, both the didactic and supervised clinical practice, meet current standards or medical practice?	Yes	No

- Is the medical director actively involved in the education of the students?	Yes	No

- Does the medical director promote cooperation and support of practicing physicians for interaction with and instruction of students?	Yes	No

If the answer to questions 1 – 3 is NO, please explain the NO answer:

| Medical Director |  |
| --- | --- |
| Name and Credentials: |  |

| Title: |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| Date of appointment to position: |  |  |  |  |  |  |
| Total number of hours employed by school per week: |  |  |  |  |  |  |
| Percent of time assigned to teaching responsibilities: |  |  |  |  | Enter a number or 0 |  |
| Percent of time assigned to IONM program administrative responsibilities: |  |  |  |  | Enter a number or 0 |  |
| Percent of time assigned to all other responsibilities (e.g., student academic advising, institutional governance or committees): |  |  |  |  | Enter a number or 0 |  |
| TOTAL |  |  |  |  | Note: The percentages of time allocated to each activity MUST add up to 100% |  |
| Licensure and Credentials: |  |  |  |  |  |  |
| License / Credential |  | Awarding Agency |  |  | Date Obtained (Month/Year) |  |
| IONM Clinical Experience (show at least three years) |  |  |  |  |  |  |
| Name of Employer | Address of Employer |  |  | Dates Employed |  | Title and Duties |

Place the following documents related to the medical in Appendix F, labeled F-2 Medical Director:

  - job description;

  - curriculum vitae; and,

(3) copy of each credential and license (a screen shot of the verification page from the issuing agency is acceptable).

(2)Qualifications

Instructors must be appropriately credentialed in the field in which they teach, knowledgeable in subject matter by virtue of training and experience, and effective in teaching assigned subjects.

Faculty and Clinical Instructional Staff

(1)Responsibilities

In classrooms, laboratories, and all clinical facilities where a student is assigned, there must be a qualified individual(s) clearly designated to provide instruction, supervision, and timely assessments of the student’s progress in meeting program requirements.

c.

Required Position(s)

1.

B. Personnel

The sponsor must appoint sufficient faculty and staff with the necessary qualifications to perform the functions identified in documented job descriptions and to achieve the program’s stated goals and outcomes.

- Describe how the program determines that all faculty are qualified to provide instruction, supervision, and timely assessments of the students’ progress in meeting program requirements.

- Describe how the program determines that clinical instructors/clinical preceptors demonstrate competence in the area of practice in which they are providing clinical instruction. Include a description of how the program determines that clinical instructors/preceptors are effective clinical instructors, including the ability to assess student performance and to document student performance as it relates to achieving the program’s goals and outcomes.

## Complete a Faculty and Instructional Staff Information Form for each didactic and laboratory instructor, as well as for each clinical instructor/clinical preceptor, and place it in APPENDIX F, labeled F-3 Faculty and Instructional Staff Information Form

Place the following documents related to the faculty and clinical instructional staff in Appendix F, labeled F-3 Clinical Instructors and Faculty

  - job description;

  - curriculum vitae; and,

  - copy of each credential or certification (a screen shot of the verification page from the issuing agency is acceptable.)

NOTE: These documents are not required for support academic faculty (e.g., basic sciences, social sciences, liberal arts, computer science).

C. Curriculum

The curriculum must ensure the achievement of program goals and learning domains. Instruction must be an appropriate sequence of classroom, laboratory, and clinical activities. Instruction must be based on clearly written course syllabi that include course description, course objectives, methods of evaluation, topic outline, and competencies required for graduation. The curriculum must include competencies in emergency preparedness consistent with the profession.

The program must demonstrate that the curriculum offered meets or exceeds the content requirements of the latest edition of the CoA-NDT Graduate Competencies for Performing Intraoperative Neurophysiological Monitoring Procedures listed in Appendix B of these Standards and Guidelines.

The program must demonstrate physician interaction with students through instruction that contributes to the achievement of the program’s goals and outcomes.

1.	How will the program determine that the curriculum meets the minimum expectations goal and learning domains, thus leading to the achievement of the program goals and learning objectives?

# PROGRAM COURSE REQUIREMENTS

List all the courses that are required for completion of the program in the sequence in which the students would typically enroll in them.

| Overall length of program in months = |  | Or in years = |  | Type of credits is: |  | Semester |
| --- | --- | --- | --- | --- | --- | --- |
| Length of semester/quarter in weeks = |  |  |  |  |  | Quarter |
|  |  |  |  |  |  | Other |

| Sequence by Sem/ Quarter # | Course Number | Course Title | # Hours: Lecture | # Hours: Lab | # Hours: Clinical | # Credits | Faculty Name and Credentials |
| --- | --- | --- | --- | --- | --- | --- | --- |

- Describe the type and amount of physician interaction that is planned with students and how those interactions contribute to the achievement of the program’s goals and outcomes.

- How did the program determine the competencies in emergency preparedness included in the curriculum?

- List each competency in emergency preparedness included in the curriculum and identify the location by course and objective.

| Competency | Course Name(s) and Number(s) | Objective number(s) within the course |
| --- | --- | --- |

- Describe the instructional methodologies used in each type of course in the IONM curriculum (didactic, laboratory, and clinical). Include a description of how the faculty determines the appropriateness of each instructional methodology.

- Describe how the faculty determined that the instructional plan includes an appropriate sequence of classroom, laboratory, and clinical activities. Describe how the clinical and laboratory activities are integrated with the didactic portion of the program.

- What is the type and minimum number of clinical cases required to complete the IONM program? How has the program determined these are adequate to allow each student to achieve the IONM graduate competencies?

## Place in Appendix E a Clinical Rotation Schedule, showing each student enrolled in the program, for at least the first clinical course. Label the folder Appendix E Clinical Rotation Schedule.

- Complete the Competency Matrix; list the course(s) and specific objectives that include instruction in each competency.

| CONTENT AREA |  |  |  |  | COURSE # (s) | OBJECTIVE #(s) |
| --- | --- | --- | --- | --- | --- | --- |
| 1. ENTRY-LEVEL competency is evidenced by the graduate’s knowledge demonstrated in the following areas. |  |  |  |  |  |  |
| a. | Bioelectrical principles |  |  |  |  |  |
|  | 1. | Demonstrate a historic knowledge of analog NDT technology by |  |  |  |  |
|  |  | a) | describing how differential amplifiers work; |  |  |  |
|  |  | b) | illustrating the grid concept with respect to anode and cathode designation; |  |  |  |
|  |  | c) | applying positive/negative and near/far field potentials to the grid; |  |  |  |
|  |  | d) | explaining the effect of input impedance, common mode rejection, polarity convention and gain; and, |  |  |  |
|  |  | e) | explaining the effects of other equipment (fluid warmers, OR table, patient warmers, etc.) on the quality of the intraoperative recording. |  |  |  |
|  | 2. | Demonstrate the application of current digital principles of electronics and mathematics of recording by: |  |  |  |  |
|  |  | a) | illustrating how differential amplifiers work; |  |  |  |
|  |  | b) | determining the amplitude, latency and frequency of waveforms; |  |  |  |
|  |  | c) | calculating the duration of waveforms; |  |  |  |
|  |  | d) | illustrating the polarity of waveforms; |  |  |  |
|  |  | e) | defining impedance; |  |  |  |
|  |  | f) | describing analog to digital conversion and the effects of sampling rate (Nyquist); |  |  |  |
|  |  | g) | identify vertical resolution limitations as identified by signal clipping; |  |  |  |
|  |  | h) | correcting or reporting malfunctions or deviations as appropriate; |  |  |  |
|  |  | i) | stating how waveform displays are affected by: |  |  |  |
|  |  |  | (1) | amplifier and preamplifier integrity; |  |  |
|  |  |  | (2) | filter settings; |  |  |
|  |  |  | (3) | amplifier gain/display gain; referential and bipolar montages; |  |  |
|  |  |  | (4) | digital/smoothing filters; |  |  |
|  |  |  | (5) | electrode types and electrode material composition; and, |  |  |
|  |  |  | (6) | malfunctioning equipment. |  |  |
|  |  | j) | verifying appropriate filter and sensitivity settings; and, |  |  |  |
|  |  | k) | verifying proper amplifier function. |  |  |  |
|  | 3. | Analyze the digital spectral array (DSA) by: |  |  |  |  |
|  |  | a) | identifying the frequency axis of a DSA; and, |  |  |  |
|  |  | b) | explaining how power is represent and plotted as a color. |  |  |  |
|  | 4. | Illustrate basic electrical concepts by: |  |  |  |  |
|  |  | a) | solving for circuit elements using Ohm’s Law; |  |  |  |
|  |  | b) | calculating equivalent resistance for resistors in parallel and series; and |  |  |  |
|  |  | c) | explaining the proper use of low and high frequency and notch filters for signal processing. |  |  |  |
| b. | Surgical and anatomic principles |  |  |  |  |  |
|  | 1. | identify the impact of pre-operative deficits and intraoperative injuries on post- operative outcomes. |  |  |  |  |
|  | 2. | identify specific surgical maneuvers and tools or implants that can cause intraoperative injury. |  |  |  |  |
|  | 3. | identify specific anatomic structures in the context of: |  |  |  |  |
|  |  | a) | Spinal surgery |  |  |  |
|  |  |  | (1) | illustrate basic spinal anatomy and structure; |  |  |
|  |  |  | (2) | identify generally accepted innervation patterns of cervical, lumbar, and sacral nerve roots |  |  |

|  |  |  | (3) | describe the surgical devices and implants used along with their function in spinal procedures; |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | (4) | identify and locate the cauda equina; and, |  |  |  |  |
|  |  |  | (5) | illustrate the organization of the brachial plexus. |  |  |  |  |
|  |  | b) | Spinal Cord Surgery |  |  |  |  |  |
|  |  |  | (1) | illustrate the topographical organization of major sensory and motor pathways in the spinal cord; |  |  |  |  |
|  |  |  | (2) | differentiate between and locate proprioceptive and nociceptive spinal pathways; |  |  |  |  |
|  |  |  | (3) | illustrate the functional and topographical perfusion of the spinal cord; |  |  |  |  |
|  |  |  | (4) | classify spinal cord tumors as extradural, intradural- extramedullary, and intramedullary; and, |  |  |  |  |
|  |  |  | (5) | locate the cell bodies for sensory and motor neurons in the spinal cord. |  |  |  |  |
|  |  | c) | Supra- and infra-tentoria procedures for tumor resection |  |  |  |  |  |
|  |  |  | (1) | describe the pathways, functions, and innervation patterns of cranial nerves; |  |  |  |  |
|  |  |  | (2) | identify the topographical organization of the brain, including: |  |  |  |  |
|  |  |  |  | (a) | 4 lobes and their primary functions; |  |  |  |
|  |  |  |  | (b) | major motor, sensory, and speech/language areas; and, |  |  |  |
|  |  |  |  | (c) | brainstem structure and composition. |  |  |  |
|  |  | d) | Neurointerventional Radiology procedures |  |  |  |  |  |
|  |  |  | (1) | identify major cerebral arteries and their supply to topographical areas; |  |  |  |  |
|  |  |  | (2) | illustrate and identify the circle of Willis; and, |  |  |  |  |
|  |  |  | (3) | explain the collateral flow concept. |  |  |  |  |
|  |  | e) | Vascular Surgery |  |  |  |  |  |
|  |  |  | (1) | explain cerebral and spinal autoregulation and its limitations in pathologic patients; |  |  |  |  |
|  |  |  | (2) | explain the benefits and utility of hypothermia for neuroprotection; and, |  |  |  |  |
|  |  |  | (3) | describe the pattern of spinal cord perfusion from the aorta. |  |  |  |  |
|  |  | f) | Otolaryngological surgery |  |  |  |  |  |
|  |  |  | (1) | identify the muscles innervated by the terminal branches of: |  |  |  |  |
|  |  |  |  | (a) | the vagus nerve (CN X) |  |  |  |
|  |  |  |  |  | i. | superior laryngeal nerve |  |  |
|  |  |  |  |  | ii. | recurrent laryngeal nerve; and, |  |  |
|  |  |  |  | (b) | the facial nerve (CN VII) |  |  |  |
|  |  |  |  |  | i. | temporal branch |  |  |
|  |  |  |  |  | ii. | zygomatic branch |  |  |
|  |  |  |  |  | iii. | buccal branch |  |  |
|  |  |  |  |  | iv. | marginal mandibular branch |  |  |
| c. | IONM Techniques |  |  |  |  |  |  |  |
|  | 1. | Phase Reversal |  |  |  |  |  |  |
|  |  | a. | Explain how the localization of the sensorimotor cortex is achieved with SSEPs by recognizing how to: |  |  |  |  |  |
|  |  |  | (1) | confirm somatosensory pathway with pre-incision baselines with scalp electrodes; |  |  |  |  |
|  |  |  | (2) | adapt time base, sensitivity and bandpass, as needed; |  |  |  |  |
|  |  |  | (3) | select appropriate stimulation site (typically contralateral median nerve); |  |  |  |  |
|  |  |  | (4) | record from strip or grid electrodes; |  |  |  |  |
|  |  |  | (5) | prepare stimulus site to reduce stimulating electrode impedance; |  |  |  |  |
|  |  |  | (6) | monitor peripheral nerve site to verify stimulus effect; |  |  |  |  |

|  |  |  | (7) | how to use a referential or bipolar montage to record direct cortical responses and produce a physiologic “phase reversal”; |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | (8) | obtain adequate resolution of the obligate components; and, |  |  |  |  |
|  |  |  | (9) | record from multiple cortical sites in order to obtain adequate localization. |  |  |  |  |
|  | 2. | Cranial nerve EMG monitoring |  |  |  |  |  |  |
|  |  | a. | Explain how motor cranial nerves are monitored and stimulated by recognizing: |  |  |  |  |  |
|  |  |  | (1) | how to apply needle, sticky pads or hookwire recording electrodes to the appropriate muscles to record spontaneous and evoked EMG responses from the specific nerves; |  |  |  |  |
|  |  |  | (2) | who is qualified to place needles for cranial nerve 3, 4, 6, 9, 10 and 12 per department policy; |  |  |  |  |
|  |  |  | (3) | how to check impedance and recording function prior to prepping and draping; |  |  |  |  |
|  |  |  | (4) | how to provide a sterile stimulating probe when needed and understanding the utility of different types of probes; |  |  |  |  |
|  |  |  | (5) | how to select appropriate intensity and duration to produce a moderate muscle twitch of the muscles from the cranial nerve being stimulated being cognizant of patient safety issues and following department protocols; and, |  |  |  |  |
|  |  |  | (6) | how to record spontaneous free-running EMG and evoked CMAPs. |  |  |  |  |
|  |  | b. | Peripheral nerve mapping |  |  |  |  |  |
|  |  |  | (1) | Describe the benefit of intraoperative mapping for peripheral nerve repair by: |  |  |  |  |
|  |  |  |  | (a) | explaining the utility of tripolar stimulation |  |  |  |
|  |  |  |  |  | i. | discussing the concept of axonal regrowth following nerve injury and |  |  |
|  |  |  |  |  | ii. | listing and describing the degrees of nerve injury in the Seddon or Sunderland classification systems. |  |  |
|  |  | c. | Electrocochleography |  |  |  |  |  |
|  |  |  | (1) | Explain how to record direct nerve action potentials from the cochlea or cranial nerve VIII simultaneously with BAEPs during certain tumor cases by recognizing: |  |  |  |  |
|  |  |  |  | (a) | how to pass the sterile direct nerve needle electrode; |  |  |  |
|  |  |  |  | (b) | how to use the same auditory clicks, intensity and stimulus rates as the BAEPs; |  |  |  |
|  |  |  |  | (c) | how to use a montage referencing the direct nerve electrode to the ipsilateral ear, and; |  |  |  |
|  |  |  |  | (d) | how to select appropriate timebase and recording sensitivity to record these high amplitude responses. |  |  |  |
|  |  | d. | Electrocorticography |  |  |  |  |  |
|  |  |  | (1) | Explain electrocorticography (EcoG) and subdural/depth electrode placement/recording by recognizing: |  |  |  |  |
|  |  |  |  | (a) | how electrodes are placed and sterile method of transfer of electrodes and cables; |  |  |  |
|  |  |  |  | (b) | what montages are used to record EcoG; |  |  |  |
|  |  |  |  | (c) | what settings and sensitivity are needed; |  |  |  |
|  |  |  |  | (d) | what artifacts are encountered during recording; |  |  |  |
|  |  |  |  | (e) | what EEG waveforms are consistent with epileptogenic foci in the surgical field; |  |  |  |
|  |  |  |  | (f) | what cortical stimulation procedures are used; |  |  |  |
|  |  |  |  | (g) | how to correlate epileptogenic foci with neuroanatomy and clinical behaviors; |  |  |  |
|  |  |  |  | (h) | sub-clinical seizure patterns, including: |  |  |  |
|  |  |  |  |  | i. | post-stimulation direct cortical after discharges; and, |  |  |
|  |  |  |  |  | ii. | sub-clinical EMG. |  |  |
|  |  | e. | Visual Evoked Potentials |  |  |  |  |  |

|  |  |  | (1) | Explain the application and limitations of VEPs including: |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  | (a) | Ideal anesthetic parameters and montages for intraoperative VEPs; |  |  |  |
|  |  |  |  | (b) | how to obtain relevant ophthalmologic and neurologic history; |  |  |  |
|  |  |  |  | (c) | how to assess a patient’s ERG; |  |  |  |
|  |  |  |  | (d) | how to use LED goggle stimuli, and; |  |  |  |
|  |  |  |  | (e) | the limitations of Flash and LED stimuli. |  |  |  |
| 2. | ENTRY-LEVEL competency is evidenced by the graduate’s skills demonstrated in the following areas: |  |  |  |  |  |  |  |
|  | a. | Pre-operative phase |  |  |  |  |  |  |
|  |  | (1) | Apply functional anatomy and physiology as pertains to the underlying disease process and surgical procedure being performed by: |  |  |  |  |  |
|  |  |  | (a) | identifying signs and symptoms of common medical and surgical disorders and |  |  |  |  |
|  |  |  | (b) | identifying signs and symptoms of intraoperative neurological complications. |  |  |  |  |
|  |  | (2) | Demonstrate the importance of effective communication among all involved personnel concerning what is involved in the surgery, what structures are at risk, and documenting appropriate communication with the interpreting physician. |  |  |  |  |  |
|  |  | (3) | Recommend criteria for assessing IONM abnormalities and maturation of components based on those established by the profession. |  |  |  |  |  |
|  |  | (4) | Document preoperative discussions with the neurophysiologist and surgeon in determining a monitoring plan that may include: |  |  |  |  |  |
|  |  |  | (a) | identifying the structures at risk; |  |  |  |  |
|  |  |  | (b) | modalities offered by the technologist and requested by the surgeon; |  |  |  |  |
|  |  |  | (c) | clear criteria for alarm parameters, and; |  |  |  |  |
|  |  |  | (d) | frequency of modalities. |  |  |  |  |
|  |  | (5) | Discuss with the anesthesiologist and surgeon the optimal anesthetics and physiologic parameters for each modality being monitored and documenting the outcome of these discussions. |  |  |  |  |  |
|  |  | (6) | Identify and discuss contraindications and concerns with specific monitoring techniques with surgeon and anesthetist prior to case. |  |  |  |  |  |
|  |  | (7) | Develop an anesthetic regimen best for agreed upon monitoring plan. |  |  |  |  |  |
|  |  | (8) | Discuss with anesthetist the potential use of IONM data in assessing depth of anesthesia. |  |  |  |  |  |
|  | b. | Intra-operative phase Intra-operative phase competencies must be achieved and documented during live cases within the surgical suite. |  |  |  |  |  |  |
|  |  | (1) | Properly set up a surgical case for neuromonitoring by: |  |  |  |  |  |
|  |  |  | (a) | verifying identify of patient according to the National Patient Safety Standards of the Joint Commission and hospital policies and procedures; |  |  |  |  |
|  |  |  | (b) | documenting the patient history and clinical findings in accordance with hospital policy; |  |  |  |  |
|  |  |  | (c) | documenting the surgery being performed; |  |  |  |  |
|  |  |  | (d) | documenting alternative electrode placement, if any; |  |  |  |  |
|  |  |  | (e) | identifying and maintaining the sterile field; |  |  |  |  |
|  |  |  | (f) | obtaining sterile electrodes and any other sterile supplies before the procedure; |  |  |  |  |
|  |  |  | (g) | passing sterile electrodes and devices to surgical personnel in an appropriate manner; |  |  |  |  |
|  |  |  | (h) | testing electrodes by checking and documenting impedances; |  |  |  |  |
|  |  |  | (i) | measuring, marking and applying electrodes according to |  |  |  |  |

|  |  |  |  | commonly accepted national and international standards; |  |  |
| --- | --- | --- | --- | --- | --- | --- |
|  |  |  | (j) | tracking an appropriate electrode count before and after the case; |  |  |
|  |  |  | (k) | arranging headbox, cables, and electrodes for minimization of artifacts, and to prevent electrodes from being dislodged, dried or contaminated with fluids; |  |  |
|  |  |  | (l) | verifying amplifier function; |  |  |
|  |  |  | (m) | verifying appropriate filter settings; |  |  |
|  |  |  | (n) | verifying sensitivity settings; and, |  |  |
|  |  |  | (o) | cleaning and prepping skin prior to electrode application per department protocols, securing electrodes adequately and disposing properly after use. |  |  |
|  |  | (2) | Acquire baseline intraoperative neurophysiological signals that include: |  |  |  |
|  |  |  | (a) | a pre-incision baseline of all modalities; |  |  |
|  |  |  | (b) | post-incision optimized baselines that may be necessary related to positioning or changes in the anesthetic regimen; |  |  |
|  |  |  | (c) | reliably interpretable waveforms which are relatively artifact free and exhibit good replication; |  |  |
|  |  |  | (d) | appropriate recording and stimulus parameters using supramaximal stimulation techniques where applicable; |  |  |
|  |  |  | (e) | displaying obligate EP waveforms according to professional guidelines or hospital policy; |  |  |
|  |  |  | (f) | using appropriate electrode type based on stimulus or recording sites; |  |  |
|  |  |  | (g) | normal, abnormal, or unobtainable waveforms as related to clinical symptoms and/or diagnosis; and, |  |  |
|  |  |  | (h) | recording leads for physiological potentials, where appropriate (eye, respiration, EKG,EMG). |  |  |
|  |  | (3) | Obtain technically adequate intraoperative SSEPs by: |  |  |  |
|  |  |  | (a) | obtaining relevant neurologic, orthopedic and/or neurosurgical history or any other relevant pathway specific information such as the presence of peripheral neuropathy; |  |  |
|  |  |  | (b) | selecting appropriate timebase, sensitivity and bandpass settings; |  |  |
|  |  |  | (c) | maintaining stimulating and recording electrode impedance equal and below 5000 ohms to assure proper stimulation and recording and decrease stimulation artifact; |  |  |
|  |  |  | (d) | selecting current of sufficient intensity and duration to elicit a supramaximal motor twitch for the appropriate areas of stimulation and/or that which maximizes the amplitude of a peripherally generated response; |  |  |
|  |  |  | (f) | using a montage that records obligate peak responses from peripheral nerve, spinal cord, subcortical structures and cerebral cortex as appropriate per departmental protocols; |  |  |
|  |  |  | (g) | marking waveforms and calculating absolute latencies, amplitudes and inter-peak intervals at baseline and throughout the monitoring procedure per department protocols; |  |  |
|  |  |  | (h) | delivering unilateral alternating stimulation of left and right sided nerves (or in appropriate setting, i.e., infants, bilateral stimulation) per established protocols; and, |  |  |
|  |  |  | (i) | following the policy for alarm criteria and reporting and documenting when SSEP data meets those measures. |  |  |
|  |  | (4) | Obtain technically adequate spontaneous and triggered intraoperative EMG by: |  |  |  |
|  |  |  | (a) | measuring waveforms and distances used in routine nerve conduction studies; |  |  |
|  |  |  | (b) | choosing the appropriate stimulator type (and recording electrode type, if applicable) to be used in the sterile field if triggered EMG/NAP responses will be utilized, based upon |  |  |

|  |  |  |  | established department protocols; |  |  |
| --- | --- | --- | --- | --- | --- | --- |
|  |  |  | (c) | correctly passing sterile stimulator (along with reference electrode if needed and any sterile recording electrodes) onto the field at the beginning of the procedure and connecting it/them correctly to the monitoring equipment; |  |  |
|  |  |  | (d) | choosing the appropriate muscle/nerves to be monitored based on the surgical procedure being performed per department protocol; |  |  |
|  |  |  | (e) | securely applying recording electrodes that have low and balanced impedance to ensure proper recording of the muscle activity; |  |  |
|  |  |  | (f) | choosing the appropriate stimulation parameters including intensity, duration, and frequency of stimulation delivery per department protocol; |  |  |
|  |  |  | (g) | recognizing the benefit of raw EMG sound and using loudspeakers to provide auditory feedback as appropriate according to department protocol; |  |  |
|  |  |  | (h) | recognizing appropriate alarm criteria and reporting and documenting alerts per department protocol; |  |  |
|  |  |  | (i) | verifying the level of neuromuscular blockade through “train of four (TOF)” monitoring throughout monitored portion of the procedure per department protocol; and, |  |  |
|  |  |  | (j) | recognizing pedicle screw stimulation thresholds and reporting them per department protocol. |  |  |
|  |  | (5) | Obtain technically adequate intraoperative Transcranial Electric Motor Evoked Potentials (tcMEP) by: |  |  |  |
|  |  |  | (a) | obtaining relevant neurologic, orthopedic and/or neurosurgical history or any other relevant pathway specific information such as the presence of myelopathy; |  |  |
|  |  |  | (b) | recognizing and documenting contraindications to MEP stimulation; |  |  |
|  |  |  | (c) | selecting and establishing appropriate timebase, sensitivity and bandpass settings; |  |  |
|  |  |  | (d) | placing electrodes appropriately on the scalp and maintaining stimulating electrode impedances equal and below 5000 ohms to assure proper stimulation and decrease stimulus artifact; |  |  |
|  |  |  | (e) | selecting and implementing current of sufficient intensity, duration, number of pulses and trains, and interstimulus interval to elicit a compound muscle action potential from relevant muscle groups; |  |  |
|  |  |  | (f) | communicating with staff about probable patient movement and developing a plan to determine safest stimulation times; |  |  |
|  |  |  | (g) | using a montage that records responses from selected muscle groups appropriate for the operative levels per department protocols; |  |  |
|  |  |  | (h) | setting waveforms at baseline, noting latency and amplitude according to department protocol; |  |  |
|  |  |  | i) | recording waveforms throughout the monitoring procedure per department protocol; |  |  |
|  |  |  | (j) | stating the importance of bite-blocks for preventing mouth injury, reaching agreement as to who will place them and insuring they are in position at baseline, after all positioning and periodically throughout case; and, |  |  |
|  |  |  | (k) | recognizing appropriate alarm criteria and reporting and documenting alerts per department protocol. |  |  |
|  |  | (6) | Obtain technically adequate intraoperative EEG by: |  |  |  |
|  |  |  | (a) | recognizing and documenting all EEG patterns that may be seen during the monitoring and being able to explain their |  |  |

|  |  |  |  | relevance to the performance of IONM; |  |  |
| --- | --- | --- | --- | --- | --- | --- |
|  |  |  | (b) | establishing a pre-operative, pre-anesthetic baseline if needed per department protocol; and, |  |  |
|  |  |  | (c) | establishing a post-anesthetic baseline prior to incision and reestablishing that baseline if necessary due to anesthetic effects, prior to any clamping or any other major surgical event per department protocol. |  |  |
|  |  | (7) | Obtain technically adequate Brainstem Auditory Evoked Potentials (BAEP) by: |  |  |  |
|  |  |  | (a) | obtaining any relevant audiologic, neurologic, and/or neurosurgical history relevant to auditory or vestibular function; |  |  |
|  |  |  | (b) | assessing the patient’s ear canals; |  |  |
|  |  |  | (c) | noting the results of prior hearing evaluations; |  |  |
|  |  |  | (d) | using molded ear speakers or insert transducers to avoid contamination of the surgical field; |  |  |
|  |  |  | (e) | using waterproof adhesive tape and/or bone wax to protect the ear speaker/insert and ear canal from blood and fluids; |  |  |
|  |  |  | (f) | choosing the appropriate montage, timebase, number of stimuli, sensitivity and bandpass settings per department protocol; |  |  |
|  |  |  | (g) | choosing the appropriate click polarity, rate and intensity; |  |  |
|  |  |  | (h) | establishing hearing threshold; |  |  |
|  |  |  | (i) | correlating elevations in thresholds with any existing hearing loss or conditions of ear structures; |  |  |
|  |  |  | (j) | expressing click intensity measures in equivalent units of dBSL, dBHL, or dBSPL; |  |  |
|  |  |  | (k) | using techniques to enhance wave I resolution such as an ear to ear montage derivation or using an ear canal electrode or increasing stimulus intensity; |  |  |
|  |  |  | (l) | using alternating click polarity to minimize stimulation artifact, or rare faction or condensation clicks to obtain the best response as appropriate; |  |  |
|  |  |  | (m) | using an appropriate stimulus intensity per department protocol; |  |  |
|  |  |  | (n) | using an appropriate stimulus rate to resolve the most important BAEP components and maintaining the same rate throughout; |  |  |
|  |  |  | (o) | obtaining adequate resolution of obligate waves I, III, and V; |  |  |
|  |  |  | (p) | measuring and calculating the absolute latencies, amplitudes and interpeak intervals of obligate peaks at baseline and throughout monitoring and adjusting the baselines as necessary due to anesthetic and other physiologic changes; |  |  |
|  |  |  | (q) | masking the contralateral ear with appropriate intensity, when applicable; |  |  |
|  |  |  | (r) | continuously monitoring the ear ipsilateral to surgical intervention (contralateral is also appropriate for large posterior fossa tumors, or as a control); and, |  |  |
|  |  |  | (s) | recognizing when to perform a latency intensity series for auditory assessments. |  |  |
|  |  | (8) | Perform all requisite communication throughout the case by: |  |  |  |
|  |  |  | (a) | reporting significant suspected anesthetic effects on neurophysiological signals to the anesthesia provider and surgeon; |  |  |
|  |  |  | (b) | reporting labeled baseline recordings of all modalities, including pre-positioning baselines if appropriate with optimized stimulation and recording parameters to surgeon; and, |  |  |
|  |  |  | (c) | reporting and confirming all communication from oversight provider |  |  |

|  |  |  |  | to surgeon. |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  | (9) | Document all pertinent information including: |  |  |  |  |
|  |  |  | (a) | anesthetic values on a regular basis according to clinical site policies; |  |  |  |
|  |  |  | (b) | Inhaled anesthetic volatility and related Minimal Alveolar Concentration (MAC) values; |  |  |  |
|  |  |  | (c) | vital signs and other physiologic factors, and their potential effects upon the monitoring being performed including: |  |  |  |
|  |  |  |  | (1) | ischemia; |  |  |
|  |  |  |  | (2) | changes in blood pressure; |  |  |
|  |  |  |  | (3) | oxygen saturation; |  |  |
|  |  |  |  | (4) | temperature (core and limb and intradural) |  |  |
|  |  |  |  | (5) | excessive blood loss; |  |  |
|  |  |  | (d) | body positional issues; |  |  |  |
|  |  |  | (e) | critical periods during the surgery where monitoring is most crucial; |  |  |  |
|  |  |  | (f) | pertinent steps to the surgical procedure; |  |  |  |
|  |  |  | (g) | any patient movement; |  |  |  |
|  |  |  | (h) | variations to customary policies and procedures; |  |  |  |
|  |  |  | (i) | changes to stimulation and recording parameters with reason for the change; |  |  |  |
|  |  |  | (j) | interruptions of monitoring for technical reasons, including trouble shooting; |  |  |  |
|  |  |  | (k) | all pertinent conversations had during the case; |  |  |  |
|  |  |  | (l) | all changes in monitored data and communication with the surgeon, anesthesiologist and interpreting physician regarding the changes and corrective action taken, according to clinical site policy and procedure alarm criteria; and, |  |  |  |
|  |  |  | (m) | primary and/or secondary monitoring technologist and any changes in monitoring staff, including case hand-off documentation. |  |  |  |
|  |  | 10. | Recognize anesthetic correlates including: |  |  |  |  |
|  |  |  | (a) | how specific anesthetic agents affect the central and peripheral nerve functioning; |  |  |  |
|  |  |  | (b) | how muscle relaxants change responses and how to monitor the level of neuromuscular blockade using “train of four” technique; |  |  |  |
|  |  |  | (c) | how specific anesthetics change ongoing EEG; |  |  |  |
|  |  |  | (d) | how specific anesthetics change the latencies and amplitudes of evoked potentials; |  |  |  |
|  |  |  | (e) | how the method of delivering anesthetics (inhalation, infusion, bolus injection, low flow inhalation) effects EEG and Evoked Potentials; |  |  |  |
|  |  |  | (f) | whether the artifact is physiologic or non-physiologic; |  |  |  |
|  |  |  | (g) | changes in concentration of volatile agents (MAC) on patient and monitoring; |  |  |  |
|  |  |  | (h) | observing interactions between nitrous oxide and other volatile anesthetics; |  |  |  |
|  |  |  | (i) | changes in CO2 and O2 saturation; |  |  |  |
|  |  |  | (j) | decline in hemoglobin and hematocrit; |  |  |  |
|  |  |  | (k) | increase or decrease in core or limb temperature; |  |  |  |
|  |  |  | (l) | mean arterial pressure changes; and, |  |  |  |
|  |  |  | (m) | IONM patterns for levels of consciousness. |  |  |  |
|  |  | 11. | Demonstrate proper signal optimization and troubleshooting techniques by: |  |  |  |  |
|  |  |  | (a) | evaluating baseline waveforms to assess if any protocol |  |  |  |

|  |  |  |  | modifications are required, including electrode derivations and other techniques as needed to enhance or clarify the waveforms as a result of changes occurring during the recording process; |  |  |
| --- | --- | --- | --- | --- | --- | --- |
|  |  |  | (b) | checking the quality of the raw signal regularly or whenever needed; |  |  |
|  |  |  | (c) | applying the concepts of artifact rejection to improve waveforms; |  |  |
|  |  |  | (d) | enhancing the relationship of signal to noise ratio by various means, e.g., increasing the number of sweeps, changing the repetition rate; |  |  |
|  |  |  | (e) | identifying the source of the artifact (e.g., poor electrode application, malfunctioning stimulator, positioning of cables, electrically hostile OR equipment, extension cords) and correcting it accordingly; |  |  |
|  |  |  | (f) | calculating the frequency in Hz of rhythmic artifacts; |  |  |
|  |  |  | (g) | recognizing the effects of an inappropriate bandpass or resorting to using the notch filter to resolve data; |  |  |
|  |  |  | (h) | properly grounding the patient and equipment; |  |  |
|  |  |  | (i) | identifying and documenting if the artifact is physiological or non- physiological; |  |  |
|  |  |  | (j) | identifying appropriate methods of troubleshooting per modality; |  |  |
|  |  |  | (k) | applying the concepts of signal averaging and noise reduction; |  |  |
|  |  |  | (l) | analog to digital conversion including amplitude resolution, sampling rate, analysis time, sampling interval (dwell time) and Nyquist frequency; |  |  |
|  |  |  | (m) | minimizing and balancing electrode impedance; |  |  |
|  |  |  | (n) | applying basic electrical safety concepts; and, |  |  |
|  |  |  | (o) | replacing electrodes exhibiting questionable activity or contact. |  |  |
|  | c. | Post-operative phase |  |  |  |  |
|  |  | (1) | Properly disconnecting equipment from the patient by: |  |  |  |
|  |  |  | (a) | cleaning the patient’s scalp, hair and skin to remove paste, blood or materials left from the monitoring; |  |  |
|  |  |  | (b) | checking the patient for burns, skin breakdown under electrode sites/tape and documenting incidents according to hospital or department policy and procedures; |  |  |
|  |  |  | (c) | accounting for and disposing of sharps in the appropriate manner; and, |  |  |
|  |  |  | (d) | cleaning and disinfecting the equipment. |  |  |
|  |  | (2) | Perform a general post-op neurological assessment if patient is alert and able to follow commands. |  |  |  |
|  |  | (3) | Finalize the detailed test data worksheet according to department policy and procedures. |  |  |  |
|  |  | (4) | Store information on appropriate media. |  |  |  |
|  | d. | Ethics, Safety and Professional Principles |  |  |  |  |
|  |  | (1) | Provide a safe recording environment for the patient and other personnel by: |  |  |  |
|  |  |  | (a) | following patient confidentiality standards as set by the Health Insurance Portability and Accountability Act (HIPAA); |  |  |
|  |  |  | (b) | taking appropriate precautions to ensure electrical safety when electrocautery is in use and ancillary equipment is connected to the patient; |  |  |
|  |  |  | (c) | following hazardous material management guidelines; |  |  |
|  |  |  | (d) | recognizing and responding to life-threatening situations; |  |  |
|  |  |  | (e) | recognizing and documenting patient allergies; |  |  |
|  |  |  | (f) | obtaining and maintaining valid CPR certification; |  |  |
|  |  |  | (g) | following Standard Precautions and Transmission-Based Precautions for infection control; |  |  |
|  |  |  | (h) | adhering to the National Patient Safety Standards of The Joint |  |  |

|  |  |  |  | Commission; |  |  |
| --- | --- | --- | --- | --- | --- | --- |
|  |  |  | (i) | exemplifying operating room etiquette; and, |  |  |
|  |  |  | (g) | complying with hospital OR dress code. |  |  |
|  |  | (2) | Maintain safe intraoperative neuromonitoring equipment by: |  |  |  |
|  |  |  | (a) | recognizing and addressing malfunctions seen in monitoring equipment and |  |  |
|  |  |  |  | following clinical site policies and procedures for implementing and maintaining equipment and documenting this maintenance. |  |  |
|  |  | (3) | Discuss the use of safety data sheets (SDS) and proper disposal of hazardous materials(e.g., acetone, collodion, blood products, cleaners, sanitizers). |  |  |  |
|  |  | (4) | Identify electrical safely issues related to: |  |  |  |
|  |  |  | (a) | types of recording and stimulating electrodes; |  |  |
|  |  |  | (b) | cautery units and return grounding pads; |  |  |
|  |  |  | (c) | other units that are connected to the patient; |  |  |
|  |  |  | (d) | multiple grounds; and, |  |  |
|  |  |  | (e) | use of new equipment in the OR (biomed checks at individual hospitals). |  |  |
|  |  | (5) | Identify infection control and safety issues surrounding correct protocols for reusable electrodes and probes and sterilization requirements. |  |  |  |
|  |  | (6) | Describe the benefit of future ongoing professional development for continuing competence post graduation through the: |  |  |  |
|  |  |  | (a) | review of intraoperative monitoring procedures with the neurophysiologist on a regular basis and |  |  |
|  |  |  | (b) | acquisition of continuing education units (CEUs). |  |  |
|  |  | (7) | Explaining general roles, responsibilities and limitations appropriate to his/her credentials from: |  |  |  |
|  |  |  | (a) | appropriate credentialing boards; |  |  |
|  |  |  | (b) | appropriate professional boards; |  |  |
|  |  |  | (c) | appropriate state licensing requirements; and, |  |  |
|  |  |  | (d) | individual hospital credentialing requirements. |  |  |
| 3. | Clinical Cases |  |  |  |  |  |
|  | Students must gain practical experience in a significant variety of surgical cases as well as be exposed to a wide variety of monitoring modalities. |  |  |  |  |  |

## Place in Appendix F all IONM-specific syllabi for didactic, laboratory, and clinical courses. Label the folder Appendix F Course Syllabi. (Syllabi for general education classes are not required UNLESS the content in a general education course is used to demonstrate curriculum compliance with the CoA-NDT IONM Graduate Competencies.)

D. Resource Assessment

The program must, at least annually, assess the appropriateness and effectiveness of the resources described in these Standards. The results of resource assessment must be the basis for ongoing planning and appropriate change. An action plan must be developed when deficiencies are identified in the program resources. Implementation of the action plan must be documented and results measured by ongoing resource assessment.

- Describe the program’s plan to assess the program’s resources on an annual basis.

- I am aware that the site visitors will review the raw data used to develop the program’s resource assessment during the site visit.	Program Director’s initials:

- Complete at least the first five (5) columns of the Resource Assessment Matrix.

Resources Assessment

(Matrix Format)

Programs holding Accreditation are required to complete Resource Assessment at least annually (Standard III.D). Purpose statements and Measurement Systems have been provided; programs may write additional Purpose statements and/or add Measurement Systems for resource(s).

Sponsor Name:	Report Year:

| # | (A) RESOURCE | (B) PURPOSE (S) (Role(s) of the resource in the program) | (C) MEASUREMENT SYSTEM (types of measurements) | (D) DATE (S) OF MEASUREMENT | (E) RESULTS and ANALYSIS (Include the # meeting the cut score and the # that fell below the cut score) | (F) ACTION PLAN / FOLLOW UP (What is to be done, Who is responsible, Due Date, Expected result) |
| --- | --- | --- | --- | --- | --- | --- |
|  |  | Provide instruction, supervision, and timely assessments of student progress in meeting program requirements. | - Program Personnel Resource Survey - Student Resource Survey |  | Select from drop down: | Select from drop down: |
| 1 | FACULTY | Work with advisory committee, administration, clinical affiliates and communities of interest to enhance the program. |  |  |  |  |
| 2 | MEDICAL DIRECTOR (S) | Provide input necessary to ensure medical components of curriculum, both didactic and supervised practice, meet current standards of medical practice. | - Program Personnel Resource Survey - Student Resource Survey |  | Select from drop down: | Select from drop down: |
|  |  | Work directly with students sufficiently to verify the adequacy of |  |  |  |  |

|  |  | the educational process. |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
|  |  | Provide support | 1. Program Personnel |  | Select from drop down: | Select from drop down: |
|  |  | personnel/services to | Resource Survey |  |  |  |
| 3 | SUPPORT PERSONNEL (clerical, academic, ancillary) | ensure achievement of program goals and outcomes (e.g. admissions, registrar, advising, tutoring, clerical) | 2. Student Resource Survey |  |  |  |
| 4 | CURRICULUM | Provide specialty core and support courses to ensure the achievement of program goals and learning domains. | - Program Personnel Resource Survey - Student Resource Survey |  | Select from drop down: | Select from drop down: |
|  | FINANCIAL | Provide fiscal support | 1. Program Personnel |  | Select from drop down: | Select from drop down: |
|  | RESOURCES | for personnel, | Resource Survey |  |  |  |
|  | (fiscal support, | acquisition and | 2. Student Resource |  |  |  |
|  | acquisition | maintenance of | Survey |  |  |  |
| 5 | /maintenance of | equipment/supplies, |  |  |  |  |
|  | equipment | and faculty/staff |  |  |  |  |
|  | /supplies, | continuing education. |  |  |  |  |
|  | continuing |  |  |  |  |  |
|  | education) |  |  |  |  |  |
| 6 | FACILITIES (classroom, lab, offices, ancillary); | Provide adequate classroom, laboratory, and ancillary facilities for students and faculty. | - Program Personnel Resource Survey - Student Resource Survey |  | Select from drop down: | Select from drop down: |
|  | EQUIPMENT /SUPPLIES | Provide a variety of equipment and supplies to prepare students for clinical experiences. |  |  |  |  |

| 7 | CLINICAL RESOURCES (affiliations) | Provide a variety of clinical experiences to achieve the program goals and outcomes. | - Program Personnel Resource Survey - Student Resource Survey |  | Select from drop down: | Select from drop down: |
| --- | --- | --- | --- | --- | --- | --- |
|  | LEARNING | Provide learning | 1. Program Personnel |  | Select from drop down: | Select from drop down: |
|  | RESOURCES | resources to support | Resource Survey |  |  |  |
|  | (print, electronic | student learning and | 2. Student Resource |  |  |  |
| 8 | reference | faculty instruction. | Survey |  |  |  |
|  | materials; |  |  |  |  |  |
|  | computer |  |  |  |  |  |
|  | resources) |  |  |  |  |  |
|  |  | Provide time and | 1. Program Personnel |  | Select from drop down: | Select from drop down: |
|  |  | resources for faculty | Resource Survey |  |  |  |
| 9 | FACULTY/STAFF CONTINUING EDUCATION | and staff continuing education to maintain current knowledge and practice. |  |  |  |  |

| PROGRAM |  |
| --- | --- |
| ENHANCEMENTS |  |

| The following are optional resource evaluations: PHYSICIAN |  |
| --- | --- |
| INSTRUCTIONAL |  |
| INVOLVEMENT |  |

| 10 |  |  |  | Provide physician- student instructional interaction to ensure confident, professional working relationships between students and physicians. | - Program Personnel Resource Survey (Section X) - Student Resource Survey (Section IX) |  | Select from drop down: | Select from drop down: |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 11 |  |  |  |  |  |  | Select from drop down: | Select from drop down: |

- Student and Graduate Evaluation/Assessment

  - Student Evaluation

    - Frequency and Purpose

Evaluation of students must be conducted on a recurrent basis and with sufficient frequency to provide both the students and program faculty with valid and timely indications of the student’s progress toward and achievement of the competencies and learning domains stated in the curriculum.

  - Describe the type and frequency of evaluations of students that are conducted in the didactic, laboratory, and clinical courses in the program.

  - Describe how student progress is tracked through the didactic, laboratory, and clinical courses and how students are regularly informed of their academic status throughout the program.

  - Describe the process the program will use to assure that each student achieves all competencies.

## In APPENDIX G provide a copy of each clinical evaluation form used by the program, label the folder G-1 Clinical Evaluation

In APPENDIX G, please place sample evaluations (e.g., tests, quizzes, skills check lists) from each didactic and laboratory course, label the folder G-2 Classroom and lab evaluations.

NOTE: If actual student evaluation forms are submitted, please redact all student identifying information.

- Student and Graduate Evaluation/Assessment

  - Student Evaluation

2.  Documentation

Records of student evaluations must be maintained in sufficient detail to document learning progress and achievements.

- Are records of student evaluations maintained in sufficient detail to document learning progress and achievements?

Yes	No

- Are records maintained for all students enrolled in the program, whether they complete the program or not?

Yes	No

If the answer is NO, please explain the basis upon which it was determined that records will not be maintained for students who do not complete the program (e.g., is there an institutional policy governing student record retention?).

- Location(s) where student records are stored:

- How many years are records stored before disposal?

- Student and Graduate Evaluation/Assessment

  - Outcomes

    - Outcomes Assessment

The program must periodically assess its effectiveness in achieving its stated goals and learning domains. The results of this evaluation must be reflected in the review and timely revision of the program.

Outcomes assessment must include, but are not limited to: national credentialing examination(s) performance, programmatic retention/attrition, graduate satisfaction, employer satisfaction, job (positive) placement, and programmatic summative measures. The program must meet the outcomes assessment thresholds.

  - Describe how the program will monitor and reports success on the professionally recognized credentialing examination(s).

  - Describe how the program will track retention/attrition for each entering cohort of students.

  - Describe how the program will track and monitor positive job placement for each graduating cohort.

  - Describe how the program plans to survey its graduates and their employers using the standardized CoA-NDT Graduate and Employer Survey 6 to 12 months following graduation for each graduating cohort.

  - Describe how the program plans to use the outcomes data (e.g., retention; graduate surveys; employer surveys; credentialing examinations) in program evaluation and revision (if warranted).

IV. Student and Graduate Evaluation/Assessment

B. Outcomes

2. Outcomes Reporting

The program must periodically submit to the CoA-NDT the program goal(s), learning domains, evaluation systems (including type, cut score, and appropriateness), outcomes, its analysis of the outcomes, and an appropriate action plan based on the analysis.

Programs not meeting the established thresholds must begin a dialogue with the CoA-NDT to develop an appropriate plan of action to respond to the identified shortcomings.

- Who is responsible for submitting the Annual Report and any follow-up documentation to the CoA- NDT?

- If this individual is not the program director, how does the program director participate in collecting and analyzing data, and incorporating the findings into program improvement?

Fair Practices

Publications and Disclosure

Announcements, catalogs, publications, and advertising must accurately reflect the program offered.

At least the following must be made known to all applicants and students: the sponsor’s institutional and programmatic accreditation status as well as the name, mailing address, web site address, and phone number of the accrediting agencies; admissions policies and practices, including technical standards (when used); policies on advanced placement, transfer of credits, and credits for experiential learning; number of credits required for completion of the program; tuition/fees and other costs required to complete the program; policies and processes for withdrawal and for refunds of tuition/fees.

At least the following must be made known to all students: academic calendar; student grievance procedure; criteria for successful completion of each segment of the curriculum and graduation; and policies and processes by which students may perform clinical work while enrolled in the program.

The sponsor must maintain, and make available to the public, current and consistent information about student/graduate achievement that includes the results of one or more of the outcomes assessments required in these Standards.

V.

Does the institution/consortium publish a general catalogue/bulletin for its educational programs?

Yes	No

If yes, year(s) of the latest edition:

Insert a hyperlink(s) to the online catalogue/bulletin and other web-based documents related to Standard V, A-E, if applicable:

2.	Complete the following table listing the location(s) of the disclosures identified in Standard V.A.2.

| Disclosures | Source Document(s) | URL | Page # |
| --- | --- | --- | --- |
| Accreditation status of the sponsor with address, website address, and telephone number |  |  |  |
| Accreditation status of the program with address, website address, and telephone number |  |  |  |
| Admission policies and practices |  |  |  |
| Technical Standards, if used by the program |  |  |  |
| Policies on advanced placement in the program |  |  |  |
| Policies on transfer of credits |  |  |  |
| Policy on credits for experiential learning |  |  |  |
| Number of credits required to complete the program |  |  |  |

| Tuition/fees and other costs associated with the program |  |  |  |
| --- | --- | --- | --- |
| Processes for withdrawal from the program/institution, and for refunds of tuition/fees |  |  |  |

- Complete the following table listing the location(s) of the disclosures specified in Standard V.A.3.

| Disclosures | Source Document(s) | URL | Page # |
| --- | --- | --- | --- |
| Academic calendar |  |  |  |
| Student grievance procedure |  |  |  |
| Admission policies and practices |  |  |  |
| Criteria for successful completion of each segment of the curriculum and graduation |  |  |  |
| Policies and procedures by which students may perform clinical work while enrolled in the program. |  |  |  |

- What is the process by which the sponsor maintains, and makes available to the public, current and consistent information related to student/graduate achievement that includes the results of one or more of the outcomes assessments required in these Standards? (Note: The CoA-NDT requires the program to publish, at a minimum, results of the Positive Placement outcome.)

- If the program publishes the outcomes results on the college/program website, please insert the link here:

Fair Practices

B. Lawful and Non-discriminatory Practices

All activities associated with the program, including student and faculty recruitment, student admission, and faculty employment practices, must be non-discriminatory and in accord with federal and state statutes, rules, and regulations. There must be a faculty grievance procedure made known to all paid faculty.

V.

- Describe how the program ensures that all activities associated with the program are non- discriminatory and in compliance with federal and state statues, rules, and regulations.

- What is the method by which all paid faculty are informed about the faculty grievance procedure?

- Complete the following table listing the location(s) of the disclosures specified in Standard V.B.

| Disclosures | Source Document(s) | URL | Page # |
| --- | --- | --- | --- |
| Non-discrimination policy for student admissions |  |  |  |
| Non-discrimination policy for faculty employment |  |  |  |
| Policies and procedures for processing faculty grievances |  |  |  |

All activities required in the program must be educational and students, whether compensated or not, must not be substituted nor left alone with patients.

Fair Practices

C. Safeguards

The health and safety of patients, students, and the faculty associated with the educational activities of the students must be adequately safeguarded.

V.

- How does the sponsor ensure that health and safety is adequately safeguarded for: Patients:

Students:

Faculty:

- Describe how the program determines that each student is competent prior to being assigned to perform procedures on patients in the clinical environment.

- Describe the processes used by the program to ensure that all activities during clinical education courses are designed to promote student achievement of the learning outcomes?

- How does the program ensure that students are not substituted for staff during clinical education hours?

- State the program policy related to student receiving pay(salary or honorarium) during the clinical experience.

Fair Practices

D. Student Records

Satisfactory records must be maintained for student admission, advisement, counseling and evaluation. Grades and credits for courses must be recorded on the student transcript and permanently maintained by the sponsor in a safe and accessible location.

V.

- Are grades and credits for courses recorded on the student transcript and permanently maintained?

Yes	No

- If NO, how many years are transcripts stored before disposal?

Is there either a state or institutional policy governing the disposal of records?	Yes	No

If YES, insert the relevant policy:

2. Where is the student transcript stored?

Fair Practices

Substantive Changes

The sponsor must report substantive change(s) as described in Appendix A to CAAHEP-CoA- NDT in a timely manner. Additional substantive changes to be reported to the CoA-NDT within a reasonable time include:

faculty;

program delivery method (seated or distance);

curriculum; and,

department, college, or hospital-wide changes that have an impact on the program and affect compliance with the Standards.

V.

1. Who is responsible for reporting substantive changes to the CoA-NDT?

Fair Practices

F. Agreements

There must be a formal affiliation agreement or memorandum of understanding between the sponsor and all other entities that participate in the education of students describing the relationship, roles, and responsibilities of the sponsor and that entity.

V.

1. Is there a formal affiliation agreement or memorandum of understanding with all entities that participate in the education of students?

Yes	No

## Place in APPENDIX H complete, signed copies of all clinical affiliation agreements (in alphabetical order by affiliate). Label the folder Appendix I Clinical Affiliation Agreements